## 1. Provider Identity
Section | Detail | Notes
Provider Name | MediTech Solutions GmbH | Official legal name
Trading Name (if different) | MediTech Solutions
Registered Address | TechPark Berlin, Building C, 10115 Berlin, Germany | Full address
Contact Details | support@meditech-solutions.com ¦ +49 30 555 0123 ¦ www.meditech-solutions.com | Email, Phone, Website
Authorised Representative Name (if applicable) | N/A (Provider established within the European Union) | If provider established outside Union
Authorised Representative Address | N/A
Authorised Representative Contact | N/A

## 2. Characteristics
Characteristic | Description/Metric | Validation Reference
Intended Purpose | The ArrhythmiaDetector (v2.1.0) is a software medical device intended to assist qualified cardiologists in the diagnosis of cardiac arrhythmia by analyzing 12-lead ECG signal data and calculating a risk score. | Clinical Evaluation Report CER-2024-AD-001
Person/Group Intended (Target Audience) | Qualified Cardiologists and trained Medical Technicians (under supervision) | N/A
Accuracy Level (Metrics) | Sensitivity: 0.95 (95%) on standard test sets. The system requires a minimum of 100 data points per inference. | Validation Report VAL-AD-2.1.0 (Annex B)
Robustness Level | The system includes outlier rejection and signal-to-noise validation algorithms capable of handling input noise variance up to 10%. | Technical Documentation File TF-ROBUST-04
Cybersecurity Level | High. Data at rest is encrypted using AES-256; data in transit uses TLS 1.3. Multi-Factor Authentication (MFA) is enforced for access. | Security Configuration Document SEC-YAML-2024
Known Foreseeable Circumstances affecting Performance | Performance accuracy is significantly reduced in high-noise environments (e.g., during active patient movement) or if the signal variance exceeds 10%. | N/A

## 3. Risks & Limitations
Risks/Limitation | Warning/Instruction | Mitigation for Deployer
Known Foreseeable Misuse | Use on pediatric patients (under 18 years old); Reliance on the AI prediction as a final diagnosis without cardiologist review; Use of non-FDA approved ECG capture hardware. | The system is explicitly contraindicated for pediatric use in the labelling. Role-Based Access Control (RBAC) restricts 'technician' roles to maintenance only, preventing diagnostic sign-off.
risks to Health/Safety/Fundamental Rights | Risk of false negatives (missed arrhythmia) or false positives (unnecessary medical intervention). | The system mandates manual review for any prediction with a confidence score below 80%. The AI output is a decision-support aid, not a standalone diagnostic.
Input Data Specifications (Format, Quality) | 12-lead ECG data in array format (float values, millivolts). Minimum 100 data points required per sequence. Must be captured via FDA-approved ECG hardware. | N/A
Limitations in Explainability | The risk score is a statistical aggregation (mean of filtered data) and does not isolate specific morphological waveforms for the user. | Users must verify the risk score against the visual representation of the raw ECG signal provided by the capture device.

## 4. Oversight & Maintenance
Requirement | Instruction to Deployer | Frequency/Trigger
Human Oversight Measures (Art 14) | Cardiologists must review all positive findings and any result where system confidence is <80%. Final diagnostic decision rests with the human operator. | Per inference event.
Pre-determined Changes (Lifecycle) | Monthly calibration checks and regular security patching. | N/A
Expected Lifetime of System | 3 years | Hardware degradation or expiration of the 3-year validated operational window.
Maintenance Measures (Frequency) | Automated monthly calibration checks (`run_maintenance_check`) and monthly vulnerability patching. | Monthly (Every 30 days)
Software Update Procedures | Security patches applied monthly; Bi-annual penetration testing remediation. | Monthly
Computational Resources Needed | 16GB RAM, NVIDIA GPU with minimum 8GB VRAM. | N/A (Hardware Requirement)
Hardware Resources Needed | FDA-approved ECG capture device. | N/A (Hardware Requirement)

## 5. Logging
Logging Aspect | Instruction | Technical Reference
Mechanism to Collect Logs | Automated system logging via Python logging module capturing User, Action, Patient ID (pseudonymized), Prediction, and Confidence. | /var/log/secure_ai_logs/
Mechanism to Store Logs | Secure local storage with daily rotation, retained for 365 days. Protected by SHA-256 integrity checks. | N/A
Interpretation of Logs | Logs contain 'Conf' (Confidence) values. A confidence value < 0.80 indicates the inference was flagged for mandatory manual review. | N/A